## Slide 1: Public Works Standard Drawings Subcommittee Meeting
Monday September 24, 2018
Swing Space – Large Conference Room

## Slide 2
Standard Specification Reference | 
Date | Standard Drawing No. New Drawing
AS PROVIDED IN PLANS BY OWNER OR OWNER’S REPRESENTATIVE
AND SPACING

## Slide 3
Standard Specification Reference | 
Date | Standard Drawing No. New Drawing

## Slide 4
Replace 1090A with iSWM 3.30 and 3.31

## Slide 5
Standard Specification Reference 202.12 * | 
Date | Standard Drawing No. 1090A
Standard Specification Reference 202.12 * | 
Date | Standard Drawing No. 1090B

## Slide 6
Replace 1100 with iSWM Figure 3.20

## Slide 7
Standard Specification Reference | 
Date | Standard Drawing No. 1100

## Slide 8: Additional Edits
Drawing Titles

## Slide 9
- Area
- Area
Exit
Exit

## Slide 10
BLOCK AND GRAVEL
BLOCK AND GRAVEL

## Slide 11
INLET PROTECTION-AREA
INLET PROTECTION-AREA
EXCAVATED IMPOUNDMENT

## Slide 12: The following slides outline the edits made at the last meeting on August 6, 2018

## Slide 13
For channel material, see Note 6
Swale
swale
Update Drawing Date
Longitudinal slope
max.

## Slide 14
Provide edits/additions below:
9. For temporary stabilization rip-rap; width, depth, and surface water elevation should be designed by owner or owner’s representative.
10. Refer to Drawing 1230A and B for turf reinforcement mat.
11. See integrated Stormwater Management Manual for more information on interceptor swale.
95%
Replace “grades” with “longitudinal slopes”
Update Drawing Date
PLANS
swale
STABILIZED RIP-RAP
SEE NOTES 9 AND 10.

## Slide 15
See note 5
Plan view should include an “outlet flow” arrow.
Update Drawing Date

## Slide 16
Standard Specification Reference 202.7* | 
Date | Standard Drawing No. 1040B
Arrows are upside down
STANDARD DRAWINGS 1030A AND 1030B.

## Slide 17
Provide edits/additions below:
7. See integrated Stormwater Management Manual for more information on Diversion Dikes.
8. For temporary stabilization rip-rap; width, depth, and surface water elevation should be designed by owner or owner’s representative.
9. Refer to Drawing 1230A and B for turf reinforcement mat.
“Refer to Item 202.7 in the Standard Specifications.”
1040C
Replace “grades” with “longitudinal slopes”
PLANS
swale
Update Drawing Date
STABILIZED RIP-RAP
SEE NOTES 8 AND 9.

## Slide 18
Replace 1050A with iSWM 3.32

## Slide 19
Standard Specification Reference 202.8 * | 
Date | Standard Drawing No. 1050A
deep
6” x 6” OR 4” x 4” WELDED WIRE MESH STRUCTURE

## Slide 20
Provide edits/additions below:
Update Drawing Date
6” x 6” or 4” x 4” WELDED WIRE MESH

## Slide 21
Replace 1080A with iSWM 2.2
REMOVE FROM PWCS

## Slide 22
Standard Specification Reference 202.10 * | 
Date | Standard Drawing No. 1080A
WILL NOT INCLUDE IN PWCS

## Slide 23
Provide edits/additions below:
8. See iSWM Manual for more information on Sand Bag Check Dam
202.10
REMOVE FROM PWCS

## Slide 24: New Subcommittee Volunteer
Mathew L. Busby, PE, Lockwood, Andrews, & Newman, Inc. - Background in general civil engineering, 2008 SMU graduate - Served as a full-time construction manager and inspector for a year - Substantial experience in subsurface utility engineering (SUE), utility coordination, and utility relocations. - Focus is municipal work now, including street rehabilitations and replacements, culvert rehabilitations and replacements, bridge rehabilitations, erosion control, drainage design, roadway design, and water and wastewater facilities, rehabilitations, and replacements.

## Slide 25: Next Steps
Determine action items for subcommittee members and NCTCOG staff

## Slide 26: Next Meeting
Next Meeting scheduled for Monday October 22, 2018 at 10 a.m., Six Flags Conference Room
Future Meeting Dates
  November 12, 2018
  November 19, 2018
  November 26, 2018
  December 3, 2018
  December 17, 2018
PWC
Thanksgiving