## Slide 1: Public Works Standard Drawings Subcommittee Meeting
Monday, June 15, 2020
UberConference

## Slide 2: Welcome and Introductions

## Slide 3: Meeting Summary

## Slide 4: Division 2000: Pavement Systems

## Slide 7
No. 4 Bars on 18” CTRS. Both ways
No. 4 Bars on 18” CTRS. Both ways
No. 4 Bars on 18” CTRS. Both ways
No. 4 Bars on 18” CTRS. Both ways
4
4
4
4
4:1
Replace Plan with a more general layout to include crosswalks, ADA ramps, striping, and possibly additional lane width for bicycle lanes per TxDOT
3. Alternative subgrade, thickness, and steel may be utilized with more detailed study and analysis and as approved by owner
8” minimum stabilized subgrade per section 301 and as approved or specified by owner
4. If lime stabilized subgrade is utilized a minimum of 40 lbs/sy is required
1’
1’

## Slide 8
No. 4 Bars on 18” CTRS. Both ways
No. 4 Bars on 18” CTRS. Both ways
No. 4 Bars on 18” CTRS. Both ways
No. 4 Bars on 18” CTRS. Both ways
4
4
4
4
4:1
Replace Plan with a more general layout to include crosswalks, ADA ramps, striping, and possibly additional lane width for bicycle lanes per TxDOT
8” minimum stabilized subgrade per section 301 and as approved or specified by owner
3. Alternative subgrade, thickness, and steel may be utilized with more detailed study and analysis and as approved by owner
4. If lime stabilized subgrade is utilized a minimum of 40 lbs/sy is required
1’
1’
5. See detail 2170 for sidewalks

## Slide 9
4
*(see note 4)
4. Straight crown or parabolic crown as approved by owner
18”
4”
2. Alternative subgrade, thickness, and steel may be utilized with more detailed study and analysis and as approved by owner
4
4
4
4:1
4:1
8” minimum stabilized subgrade per section 301 and as approved or specified by owner
6”
1’
1’
5. See detail 2170 for sidewalks

## Slide 10
If there’s a required bike lane the buffer should be 1’-3’ depending on the speed.
Sidewalks should be 5’ as directed by city but can be reduced to a minimum of 3’ sidewalk with 5’ bulb out.

## Slide 11
Don’t use refences from NACTO
Ref. FHWA Federal Highway Administration IA-18

## Slide 12
18”
Or as approved by owner
3. Alternative subgrade, thickness, and steel may be utilized with more detailed study and analysis and as approved by owner
8” minimum stabilized subgrade per section 301 and as approved or specified by owner
*(see note 1)
1. Crown section may be used in lieu of invert with provision of an adequate drainage design and as approved by owner
1’
1’
6. See detail 2170 for sidewalks

## Slide 13
No. 4 Bars on 18” CTRS. Both ways
No. 4 Bars on 18” CTRS. Both ways
No. 4 Bars on 18” CTRS. Both ways
1. Apply backer rod as approved by owner

## Slide 14
*cleanup lines through median

## Slide 15
Symmetrical

## Slide 16
Remove detail and
reference TxDoT detail in specs if needed

## Slide 17
4
4
4
4
4:1
4:1
8” minimum stabilized subgrade per section 301 and as approved or specified by owner
Min.
Min.
Min.
Min.
1’
1’
5. See detail 2170 for sidewalks

## Slide 18
4
4
4
4
4:1
4:1
8” minimum stabilized subgrade per section 301 and as approved or specified by owner
Min.
Min.
Min.
Min.
1’
1’
5. See detail 2170 for sidewalks

## Slide 19
4. Straight crown or parabolic crown as approved by owner
5. See detail 2170 for sidewalks
Min.
Min.
Min.
Min.
4
4
4
4:1
4:1
8” minimum stabilized subgrade per section 301 and as approved or specified by owner
Min.
1’
1’

## Slide 21
reference TxDOT PED-18
https://www.dot.state.tx.us/insdtdot/orgchart/cmd/cserve/standard/rdwylse.htm

## Slide 22
Update and remove 2125A or update to reference other detail

## Slide 23
6’ min.
as specified by owner
Move arrows to outside lines or change to “B. to B.”
Move arrows to inside lines

## Slide 24
Low profile
As specified by owner

## Slide 25
Show doweling as option
Residential
Update 2150, 2155, 2160 and to include residential, commercial and alley approach
Eliminate keyway joint
Use Arlington Drawings for residential driveway approaches

## Slide 26
Residential
Update 2150, 2155, 2160 and to include residential, commercial and alley approach
Use Arlington Drawings for residential driveway approaches

## Slide 27
Add cross section view like 2150A
Residential
Update 2150, 2155, 2160 and to include residential, commercial and alley approach
3600 PSI
Use Arlington Drawings for residential driveway approaches

## Slide 28
Use Arlington Drawings for residential driveway approaches

## Slide 29
Use Arlington Drawings for residential driveway approaches

## Slide 30
Use Arlington Drawings for residential driveway approaches

## Slide 31
Use Carrollton Drawings for commercial driveway approaches

## Slide 32
Use Carrollton Drawings for commercial driveway approaches

## Slide 33
Commercial Driveway
#4 Bars on 18” CTRS?
Update 2150, 2155, 2160 and to include residential, commercial and alley approach
Over 12% grade break is not recommended?
Use Coppell Drawings for Alley driveway approaches

## Slide 34
Use Coppell Drawings for Alley approaches

## Slide 35
Use Coppell Drawings for Alley approaches

## Slide 36
Use Coppell Drawings for Alley approaches

## Slide 37
Use Coppell Drawings for Alley approaches

## Slide 38
Class C
2% max.

## Slide 39
2% max.
4’
95%
Sand cushion used as needed, not to exceed 1”

## Slide 40
If the PI is 15 or greater lime shall be used, if the PI is less than 15 cement shall be used or as recommended by a geotech engineer
2115
American Association of State Highway and Transportation Officials AASHTO Guide for the Development of Bicycle Facilities (2012, 4th Edition) or the Texas Manual on Uniform Traffic Control Devices (TMUTCD) : https://mutcd.fhwa.dot.gov/resources/state_info/texas/tx.htm
C. Where sulfates are present, consult a geotechnical engineer for recommended subgrade treatment

## Slide 47
Make sure this matches the updated Alley Approaches from Coppell

## Slide 48
Remove and reference the TxDOT Metal Beam Guard Fence

## Slide 49
Remove and reference the TxDOT Metal Beam Guard Fence

## Slide 50
Remove and reference the TxDOT Metal Beam Guard Fence

## Slide 51
Remove and reference the TxDOT Metal Beam Guard Fence

## Slide 52
Remove and reference the TxDOT Metal Beam Guard Fence

## Slide 53
Remove and reference the TxDOT Metal Beam Guard Fence

## Slide 54
Remove and reference the TxDOT Metal Beam Guard Fence

## Slide 55
Remove and reference the TxDOT Metal Beam Guard Fence
Notes: https://nacto.org/publication/urban-street-design-guide/
CC
CHRIS CHA
https://www.dot.state.tx.us/insdtdot/orgchart/cmd/cserve/standard/rdwylse.htm
KM
KEITH MARVIN
ftp://ftp.dot.state.tx.us/pub/txdot-info/cmd/cserve/standard/roadway/ped18.pdf
CC
CHRIS CHA
https://www.dot.state.tx.us/insdtdot/orgchart/cmd/cserve/standard/rdwylse.htm
MGBF - search for that

## Slide 68: Next Steps
Determine action items for Subcommittee Members and NCTCOG staff

## Slide 69
Next Standard Drawings Meetings
July 6, 2020
10am-11:30am
UberConference