| COMMISSIONING COMPLIANCE CHECKLIST (adapted from IECC-2015/2018) |  |  |
| --- | --- | --- |
| Project Name: _____________________________________________________________________________ Project Address: ______________________________________ Permit Number: _______________________ Commissioning Provider (CxP): _______________________________________________________________ Company/CxP address: _____________________________________________________________________ |  |  |
| ITEM | COMMISSIONING DOCUMENTATION | APPROVAL |
| 1. | Project Commissioning Requirements |  |
|  | Project commissioning requirements included in project contract documents. |  |
| 2. | Commissioning Plan |  |
|  | Commissioning Plan with checklists (before start of functional testing) completed. (Section C408.2.1) |  |
| 3. | Commissioning Plan Utilized |  |
|  | Commissioning Plan was used during construction and includes items required in Section 408.2.1 |  |
| 4. | Systems Adjusting and Balancing |  |
|  | Systems Adjusting and Balancing has been completed |  |
| 5. | HVAC Equipment |  |
|  | HVAC Equipment Functional Testing has been executed. If applicable, deferred and follow up testing is scheduled to be completed on _________________________ |  |
| 6. | HVAC Controls |  |
|  | HVAC Controls Functional Testing has been executed. If applicable, deferred and follow up testing is scheduled to be completed on _________________________ |  |
| 7. | Economizers |  |
|  | Economizer Functional Testing has been executed. If applicable, deferred and follow up testing is scheduled to be completed on _______________________________ |  |
| 8. | Lighting Controls |  |
|  | Lighting Controls Functional Testing has been executed. If applicable, deferred and follow up testing is scheduled to be completed on__________________________ |  |
| 9. | Service Water Heating |  |
|  | Service Water Heating Functional Testing has been executed. If applicable, deferred and follow up testing is scheduled to be completed on ______________________ |  |
| 10. | Systems Manual |  |
|  | Project documentation, and Systems and O&M Manual, and training completed or scheduled. |  |
| 11. . | Commissioning Report |  |
|  | Preliminary Commissioning Report submitted to Owner and includes all items required in C408.2.4 |  |
| Owner/Owner’s Representative Acknowledgement I hereby certify that the commissioning provider has provided me with evidence of mechanical, service water heating and lighting systems commissioning in accordance with the 2015/2018 IECC Name/Company: _____________________________________________________________ Owner Owner’s Representative Signature: ____________________________________________________________Date: ________________________ |  |  |