Insert City Seal

Project Address: _________________________________________________

N1101.13 (R401.2) – Projects shall comply with one of the following:

Option #1a – Prescriptive: Sections N1101.14 (R401) through N1104 (R404):

N1102 (R402) Building Thermal Envelope. {Using table N1102.1.2 (R402.1.2) INSULATION AND FENESTRATION REQUIREMENTS BY COMPONENT}

N1103 (R403) Systems.

N1104 (R404) Electrical Power and Lighting Systems (Mandatory).

Plus all mandatory provisions

Option #1b – Prescriptive-Using REScheck™ UA approach Only: Sections N1101.14 (R401) through N1104 (R404):

N1102 (R402) Building Thermal Envelope.

N1103 (R403) Systems.

N1104 (R404) Electrical Power and Lighting Systems (Mandatory).

Plus all mandatory provisions

Option #2 – Section N1105 (R405) Performance Approach

Plus all mandatory provisions

Option #3 – ENERGY STAR Certified Homes®

Option #4 – Section N1106 (R406) Energy Rating Index Compliance Alternative

Minimum envelope requirements > Table 402.1.1 or 402.1.3 – 2009 IECC

Plus all mandatory provisions

Option #5 –   ESL 4ACH50 Tradeoff Code Equivalency Compliance a

| Envelope Component | Option #1 | Option #2 |
| --- | --- | --- |
| R402.4 Air Leakage | < 4ACH50 | < 4ACH50 |
| Wall Insulation Value | R13 + R3b | R13 + R3b |
| Fenestration U-factor/SHGC | < 0.32/0.25 | < 0.32/0.25 |
| Ceiling R-value | > R49 | > R49 |
| Duct Insulation | R8 | R6 |
| Radiant Barrier Required | No | Yes |

a Except for the values listed in the table, all other mandatory code provisions are applicable.

b First value is cavity insulation, second is continuous insulation or insulated siding.

NOTE:  Attach appropriate compliance option “compliance report”

I certify that I have reviewed the construction documents including, but not necessarily limited to, insulation materials and R-values; fenestration U-factors and SHGC values; area-weighted average U-factor and SHGC calculations; mechanical system design criteria; mechanical and service water heating system and equipment types, sizes and efficiencies; equipment and system controls; duct sealing, duct and piping insulation and location; and air sealing details; and that the project as designed satisfies the minimum requirements for the compliance approach selected above.

Print Name: ____________________ Sign Name: ________________________Date: ________

If this template form is modified, the NCTCOG logo must be removed as it is no longer a NCTCOG approved template.